## Price Quotation,PSF
Price Quotation Form (PSF)
Name of Firm:
Address:
Email: |  | Mob. #: |  |  | Date:
SL # | Particulars | Unit Type | Unit/Qty. | Unit Cost in BDT | Total Cost in BDT. | Remarks
1 | Mobilization of all materials, equipment and manpower, preparetion and dressing of the site before and after constrution,demobilization etc. all complete as per direction of the Engineer-in-charge. | L.S | 1
2 | Earth work in Excavation of all kinds of soils of foundation trenches including leveling, ramming and preparing the base, bailing out of water and shoring if necessary, providing center lineand bench mark pillars, removingthe spoils. etc. | cum | 4.02
3 | Sand filling in foundation trenches and plinth with sand having min. F.M. 1.2 in 25mm layer including leveling, watering (with sweet water) and compaction to achieve minimum dry density of 90% with optimum. moisture content (Modified proctor test) by ramming as per design supplied and all complete as per direction of the Engineer-in-charge. | cum | 0.57
4 | One layer of Brick flat Soling work in foundation and floor with first class or picked jhama bricks, preparation of bed and filling the interstices with local sand, watering (with sweet water) etc. as per drawing and direction of the Engineer-incharg | sqm | 20.75
5 | CC work (1:2:4) in floor and foundation with good quality Portland cement, sand (1.6 FM) and Khoa (19 mm) down graded) including supply and underlaying polythene and compecting properly and all works have to be completed using sweet water as per drawing and direction of tho Engineer-in-charge | cum | 1.56
6 | 250mm/250mm brick works in CWR, RWR, SSE & URF with first class bricks and cement morter (15) using portland cement, sand (FM 1.4)including soaking of bricks, pointing. racking out joints, cleaning, curing for 21 days, scaffolding etc. all works have to be completed using sweet water and complete as per direction of the Engineer-in-charge | cum | 11.94
7 | 125mm/150mm brick works in RWR, SSF & URF with first class bricks and cement morter (1:4) using portland cement, sand (FM 1.4)including soaking of bricks, pointing, racking out joints, etc.. all works have to be completed using sweet water and complete as per direction of the Engineer-in-charge | sqm | 40.07
8 | a) 12 mm plaster without Pudlo: minimum 12mm thick cement sand (F.M. 1.2) plaster with neat cemen finishing with cement including washing of sand. finishing the edges and corners and curing at least for 7 days, cost of water, electricity and other charges etc. all complete in all respect with sweet water as per drawing and accepted by the engineer in charge. | sqm | 72.23
9 | b) 12 mm plaster with Pudlo:Minimum 12mm thick cement sand (F.M-1.2) water proof, damp proof, dry and breathable plaster (1:4) with including washing of sand. finishing the edges and corners and curing at least for 7 days, cost of water, electricity and other charges etc. all complete in all respect with sweet water as per drawing and accepted by the engineer in charge. | sqm | 53.5
10 | RCC work (1:2:4) in base of PSF and in tank cover as per drawing with good quality portland cement, sand (FM 1.6) and khoa ( 19mm down graded) including breaking jhama brick chips, screening, washing, mixing, placing and compacting, cantering, shuttering, placing of rods in position, curing etc.. all works have to be completed using sweet water and all complete as per drawing and direction of the Engineer-in-charge | cum | 2.31
11 | Supply, fitting and fixing country made mirror polish homogeneous floor tiles irrespective of Color &/and design, with cement sand (1:4) base raking out the joints with white cement including cutting and laying the tiles in proper way and finishing with care etc. all complete and accepted by the Engineer. (Cement: CEM-II/A-M) in 4th floor. (Mirror Polish 300 x 300 mm floor tiles) | sqm | 15.29
12 | Supplying, fitting and fixing 1.5mm thick Transparent plain Fiber glass sheet roofing on three filter unit having one end hinged and opening with locking system arrangement at the other end, fitted and fixed on 40mmx40mmx6mm size M.S. angle outer m2 frame member arrangement and inner members of the frame would be made of 20mmx20mmx5mm size M.S. angle having @ 412mm C/C, etc. all completed as per direction of the Engineer-in-charge. | sqm | 6.4
13 | Supplying, fitting and fixing of 16 gauge GI sheet Roofing over clear water reserver fixed on 40mmx40mmx6mm size M.S. angle outer frame member arrangement and inner members of the frame would be made of 20mmx20mmx5mm size M.S. angle having @ 412mm C/C, etc. all completed as per direction of the Engineer-in-charge. | sqm | 7.41
14 | Supply of different components and fittings of approved quality for construction of PSF including fabrication, carrying, screening, washing, placing, jointing, making all joints leak proof using thread seal/taflon/cement mortar /solvent cement as applicable as per drawing and direction of the Engineer-in-charge. Gl pipes and fittings shall be of national tubes and or karims pipes or equivelent.
| a) 12 mm MS rod for RCC slab | kg | 265
| b) 5-8mm gravel (crushed) | cum | 0.72
| c) 15-18mm gravel (crushed) | cum | 1.36
| d) 38mm uPVC strainer | nos | 1
| e) 38mm uPVC pipe(Thread Pipe) | m | 10
| f) 38mm uPVC Elbow | nos | 4
| g) 38mm GI pipe (NTL or equivelent | m | 10
| h) 38mm GI Elbow | nos | 10
| i) 25mm GI Elbow | nos | 2
| j) 25mm Gl pipe | m | 4
| k) Metal Bib cock | nos | 4
| l) 38mm GI Gate Valve | nos | 1
| m) 38mm Gl Socket | m | 2
| n)25mm dia Transparent pipe | nos | 1.5
| o) 450mm dia cast iron manhole cover | m | 1
| p) 150 mm dia uPVC Pipe | m | 4
| q) 50 mm dia uPVC Pipe | m | 1
| r ) 25mm din uPVC pipe | nos | 1
| s) 50 mm uPVC Elbow | nos | 2
| t) 38 mm uPVC Tee | nos | 2
| u) 50/100 mm uPVC reducer | nos | 1
| v)38mm GI end plug(for wash out pipe) | nos | 8
| w) PVC/Cloth Net | sqm | 1
| x) 25 mm Gl union socket | nos | 1
| y) 25/38 mm GI reducer | nos | 1
| z) 25 mm GI Gate Valve | nos | 1
| aa) 38 mm GI Gate | nos | 1
| ab) 38 mm uPVC flow controller (gate valve) | nos | 2
| ac) Gum | pot | 1
| ad) Threat tape | nos | 12
| ae) Nut bolt | nos | 4
| af)Clamp6" dia | nos | 3
| ag)Clamp1.5" dia | nos | 3
| ah)kustia Sand having property F.M=1.8 to 2.0, D10=0.20 TO 0.21 and U= 2.1 TO 2.5 | cum | 2.55
| ai) Researve/Spare Kustia sand having propety F.M= 1.8 TO 0.21 AND U=2.1 TO 2.5 for future necessity of filler bed. Sandwill be stored in weeather coated bag as per the direction of engineer in charge. | cum | 1.275
| aj) Earth filling | cum | 0.25
| ak) Local sand filling (F.M.0.8) | cum | 5.669
| al) Pudlo(2% for inner side of all wall) | bag | 55
| am) separation net (For filter bed) | sqm | 20
| an) Centering/ Shuttering rent for wood | L.S | 1
15 | Disinfection of PSF Water with mixing of 2kg bleaching powder in water and discharging all water after one day | L.S | 1
16 | Collection of PSF Treated water samples and send to getting tested frome a recognised public. Laboratory for bacteriological test (Fecal Coliform , Total Coliform & E coli ) all complete as per diretion of engineer in charge | L.S | 3
17 | Wire Fencing with RCC piller. | L.S | 1
18 | Lobour cost | L.S | 1
19 | Visibility (Boosh print on Siramic Plate as per apporved design with Logo and write up, Size 12" / 24 ") | Pcs | 1
Total BDT in Word:
Singature and Seal